## Introduction
The Anaesthetic Gas Scavenging System (AGSS) project
This project was started in 2019 in Bristol by Drs John Hickman and Samantha Shinde, with the support of Dr Jason Gandhi, the National Anaesthetic Sustainability Fellow for the Centre for Sustainable Healthcare and The Association of Anaesthetists Environmental Champions.
This is a project any healthcare professional can carry out in the theatre environment.
The Problem
Operating theatres are energy hot spots that are six times more energy-intense than hospitals as a whole; at least 84% of the carbon footprint of the operating theatre suite comes from energy consumption (in the absence of desflurane use) [1]. The anaesthetic gas scavenging system (AGSS) is required to collect expired gases, ensuring compliance with the Health and Safety Executive’s workplace exposure limits [2]. In Canada and the USA, occupancy-based ventilation systems have been shown to produce a 50% reduction in energy consumption. We believe that these principles can be utilised to good effect in the UK with our AGSS systems [1].
Occupancy based systems: A how to guide
1. Collaborate with your estates team
Firstly, identify who is responsible for the maintenance and running of the AGSS on your site (likely to be the estates team).
Secondly, establish the following by discussing with your estates team:
- How many AGSS pumps there are.
- The relationship between AGSS pumps and theatres i.e. 1:1, 1:2 pump to theatre ratio.
- The energy required to run each pump in kW/hr (energy consumption can vary between individual pumps).
- The cost of running each pump per hour.
- How the pumps are switched on and off, including the ratio of switch to pumps i.e. does one switch turn off one pump or multiple pumps?
2. Collect data on AGSS activity
This is a 24 hour spot audit.
Collect data twice: Once in-hours and once out-of-hours, both mid-week.
For example at 9am and 9pm - ideally on the same day
For simplicity, an assumption is made that the status of the AGSS in the morning remain the same for 12 h until the repeat PM audit, and the same for the evening status.
Input the data points into this spreadsheet. (NB some devices will ask for download of special fonts to open the Excel file – just ‘skip’ these requests.)
Tab 1 and 2 (Baseline AGSS safety AM & PM) are designed to highlight any safety issues. The data points are:
- Location (theatre number)
- AGSS Pump Number (This can be retrospectively identified at the end of the study)
- Is the theatre in use or not?
- Is the AGSS on or off?
Tabs 3 and 4 allow you to repeat the audit once you choose to adopt your changes.
Tab 5 (Baseline AGSS CO2e) requires you to document:
- Location (theatre number)
- Which AGSS pump is this connected to? (This can be retrospectively identified at the end of the study)
- Unless you are doing hourly recordings of the AGSS system (this project method does not), then the run hours per day will be assumed to be 24 hours.
- For ‘occupied run hours’, if the theatre is occupied at 8AM or 8PM, then this will 12 hours. But if they are occupied at both times, then this will be 24 hours. If unoccupied then this will be zero.
- Liaise with Estates to establish:
  (1) kWh per pump
  (2) Cost (£) per kWh
Note: if there are multiple theatres connected to one AGSS pump i.e. theatres 1,2,3 and 4 connected to AGSS pump 1, and if only one theatre is operating the pump will be on for all theatres. Therefore, you are only required to input one data value per AGSS pump in Column F (kWh per pump) i.e. 4kWh for AGSS pump 1 serving theatres 1,2,3 and 4. You do not need to put 4kWh for each theatre. See tab 5 for set example in highlighted green fields.
3. Analyse your baseline data
The data inputted will automatically produce graphs highlighting any safety and environmental concerns. The graphs include:
- Number of pumps running when the theatre was not in use.
- Number of pumps not running when the theatre was in use.
Calculate the environmental impact of inappropriate AGSS running:
The entered data inputted will automatically calculate the estimated annual KgCO2e wastage and the associated economic (£) impact on tab 7 (Baseline Vs Repeat AGSS CO2e)
With your baseline data, explore options of reducing environmental harm and economic costs with your estates or sustainability department (see below).
4. Implement an occupancy based AGSS system
In the presence of a passive infrared sensor (PIR):
- Explore the possibility of linking the in-theatre PIR sensor to the AGSS pump.
- A business case can be advocated if the AGSS is off whilst a theatre is in use, hence breaking health and safety guidance.
In the absence of a PIR sensor:
- An end-of-the-day green checklist can be very effective in engaging theatre and domestic staff. Both groups are essential to engage as ancillary staff often turn on the lights through the night.
- A green checklist can also include other tasks based on your local need, for example lights, HVAC, AGSS and computers. There are human factor limitations to this strategy.
- Installation of a PIR sensor could be investigated with the sustainability team at your hospital as this is a means of evidencing reduction of Scope 1 emissions.
5. Collect post intervention data
Repeat data collection to establish the environmental and financial impact of your intervention.
Complete the user details tab and then with your baseline data, please email your results to agssproject@sustainablehealthcare.org.uk . Once you have collected your intervention data, please then forward this to us. Your data can then be a part of a larger pool enabling us to share learning.
A Sustainable Quality Improvement approach
Best practise suggests re-engaging with your theatre and ancillary staff to review progress achieves the best outcomes. More details at Step-by-step guide | Centre for Sustainab (susqi.org)
Disseminate results/learning
Disseminate your results and learning through team/unit/trust/board/professional networks eg Sustainable Operating Theatres www.sustainablehealthcare.org.uk
Thanks to Dr Samantha Shinde, Consultant Anaesthetist, North Bristol Trust
Dr Jason Gandhi
Association of Anaesthesists and Centre for Sustainable Healthcare fellow in environmentally sustainable anaesthesia
Jason.gandhi@nhs.net
Dr John Hickman
ST Anaesthesia
Trainee Network Lead S.E.A.S.N
jphickman@doctors.org.uk
References
[1] MacNeill, A. J., Lillywhite, R., & Brown, C. J. (2017). The impact of surgery on global climate: a carbon footprinting study of operating theatres in three health systems. The Lancet Planetary Health, 1(9), e381-e388.
[2] Britain, G. (2011). EH40/2005 Workplace Exposure Limits: Containing the List of Workplace Exposure Limits for Use with the Control of Substances Hazardous to Health Regulations 2002 (as Amended). HSE Books.

## User Details
Name of Hospital:
Name of Trust: | Yes
Name of Individual/s undertaking project: | No
Contact email:
Name of supervisor if necessary:
Supervisor contact email (if applicable):
Have you acquired Audit approval?
Please tick one of the below options:
Please email your baseline findings, followed by your final results to agssproject@sustainablehealthcare.org.uk
Thankyou!
You are happy the data will be presented on a public facing webpage/published on a named basis alongside other trusts/units
You are happy the data will be presented on a public facing webpage on an anonymous basis but alongside a list of participating trusts so credit can be given. To help protect anonymity, we would only publish names if there were more than 5 trusts.
You are happy the data will be presented on an anonymous basis only

## 1 - Baseline AGSS safety AM
Baseline AGSS safety worksheet (AM)
Authors: Dr Jason Gandhi, Dr John Hickman, Dr Samantha Shinde
AGSS Pump | Theatre | Theatre used or unused | Scavenging Status | CONCATENATE | Scavenging System Inappropriately on or off
Example | 37 | Yes | On | YesOn | Appropriately on
Example | 38 | Yes | Off | YesOff | Inappropriately off
Example | 39 | No | On | NoOn | Inappropriately on
Example | 40 | No | Off | NoOff | Appropriately off

## 2 - Baseline AGSS safety PM
Baseline AGSS safety worksheet (PM)
Authors: Dr Jason Gandhi, Dr John Hickman, Dr Samantha Shinde
AGSS Pump | Theatre | Theatre used or unused | Scavenging Status | CONCATENATE | Scavenging System Inappropriately on or off
Example | 37 | Yes | On | YesOn | Appropriately on
Example | 38 | Yes | Off | YesOff | Inappropriately off
Example | 39 | No | On | NoOn | Inappropriately on
Example | 40 | No | Off | NoOff | Appropriately off

## Summaries for graphs (hidden)
Graph 1 - AM
Data for graphs | COUNT | %
Appropriately on | 0 | #DIV/0!
Inappropriately off | 0 | #DIV/0!
Inappropriately on | 0 | #DIV/0!
Appropriately off | 0 | #DIV/0!
total | 0
Graph 2 - PM
Data for graphs | COUNT | %
Appropriately on | 0 | #DIV/0!
Inappropriately off | 0 | #DIV/0!
Inappropriately on | 0 | #DIV/0!
Appropriately off | 0 | #DIV/0!
total | 0
Graph 3 - Repeat AM
Data for graphs | COUNT | %
Appropriately on | 0 | #DIV/0!
Inappropriately off | 0 | #DIV/0!
Inappropriately on | 0 | #DIV/0!
Appropriately off | 0 | #DIV/0!
total | 0
Graph 4 - Repeat PM
Data for graphs | COUNT | %
Appropriately on | 0 | #DIV/0!
Inappropriately off | 0 | #DIV/0!
Inappropriately on | 0 | #DIV/0!
Appropriately off | 0 | #DIV/0!
total | 0

## Drop down list options (hidden)
| Theatre used + Scavening on | YesOn | Appropriately on
Yes | Theatre used + Scavening off | YesOff | Inappropriately off
No | Theatre not used + scavenging on | NoOn | Inappropriately on
| Theatre not used + scavening off | NoOff | Appropriately off
On
Off

## 3 - Repeat AGSS safety AM
Baseline AGSS safety worksheet (AM)
Authors: Dr Jason Gandhi, Dr John Hickman, Dr Samantha Shinde
AGSS Pump | Theatre | Theatre used or unused | Scavenging Status | CONCATENATE | Scavenging System Inappropriately on or off
Example | 37 | Yes | On | YesOn | Appropriately on
Example | 38 | Yes | Off | YesOff | Inappropriately off
Example | 39 | No | On | NoOn | Inappropriately on
Example | 40 | No | Off | NoOff | Appropriately off

## 4 - Repeat AGSS safety PM
Baseline AGSS safety worksheet (PM)
Authors: Dr Jason Gandhi, Dr John Hickman, Dr Samantha Shinde
AGSS Pump | Theatre | Theatre used or unused | Scavenging Status | CONCATENATE | Scavenging System Inappropriately on or off
Example | 37 | Yes | On | YesOn | Appropriately on
Example | 38 | Yes | Off | YesOff | Inappropriately off
Example | 39 | No | On | NoOn | Inappropriately on
Example | 40 | No | Off | NoOff | Appropriately off

## 5 - Baseline AGSS CO2e
Baseline calculations of the CO2e for electricity used by your AGSS
Authors: Dr Jason Gandhi, Dr John Hickman, Dr Samantha Shinde
AGSS Pump | Theatre | Run Hours per day | Occupied run hours | Unoccupied running hours | kW/h per pump | kWh/annum | Cost (£) per kW/h | Cost in £/annum | UK electricity emissions factor | kgCO2e per annum | Wasted kgCO2e per annum | Wasted costs (£) per annum)
Example 1 | 37 | 24 | 12 | 12 | 5 | 43800 | 0.05 | 2190 | 0.21233 | 9300.054 | 4650.027 | 1095
Example 2 | 38 | 24 | 0 | 24 | 5 | 43800 | 0.05 | 2190 | 0.21233 | 9300.054 | 0 | 0
| 39 |  | 24 | 0
| 1 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 2 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 3 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 4 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0 | kgCO2e total for AGSS pumps | 0
| 5 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0 | Wasted kgCO2e for all AGSS pumps | 0
| 6 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0 | Cost (£) total for AGSS pumps | 0
| 7 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0 | Wasted cost (£) for all AGSS pumps | 0
| 8 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 9 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 10 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 11 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 12 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 13 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 14 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 15 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 16 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 17 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 18 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 19 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 20 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 21 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
Note on A4: Microsoft Office User: An AGSS Pump may link to multiple theatres
Note on F4: Microsoft Office User: Ask estates for the kWh for each pump. They may vary if youre in a old hospital
Note on H4: Microsoft Office User:Liaise with estates or sustainability team for cost/kWh
Note on J4: Gandhi, Jason: BEIS emission factor 2021 electricity UK https://www.gov.uk/government/publications/greenhouse-gas-reporting-conversion-factors-2021 (condensed set) OR liaise with your teams sustainability/estates team if you have a CHP energy source
Note on H5: Microsoft Office User: Cost per kWh for Freeman Hospital

## 6 - Repeat AGSS CO2e
Repeat calculation of the CO2e for electricity used by your AGSS
Produced by Dr Jason Gandhi, Dr John Hickman, Dr Samantha Shinde
AGSS Pump | Theatre | Run Hours per day | Occupied run hours | Unoccupied running hours | kW/h per pump | kWh/annum | Cost (£) per kW/h | Cost in £/annum | UK electricity emissions factor | kgCO2e per annum | Wasted kgCO2e per annum | Wasted costs (£) per annum)
Example 1 | 37 | 24 | 12 | 12 | 5 | 43800 | 0.05 | 2190 | 0.21233 | 9300.054 | 4650.027 | 1095
Example 2 | 38 | 24 | 0 | 24 | 5 | 43800 | 0.05 | 2190 | 0.21233 | 9300.054 | 9300.054 | 2190
Example 3 | 39 | 24 | 24 | 0 | 5 | 43800 | 0.05 | 2190 | 0.21233 | 9300.054 | 0 | 0
| 1 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 2 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 3 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 4 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0 | kgCO2e total for AGSS pumps | 0
| 5 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0 | Wasted kgCO2e for all AGSS pumps | 0
| 6 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0 | Cost (£) total for AGSS pumps | 0
| 7 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0 | Wasted cost (£) for all AGSS pumps | 0
| 8 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 9 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 10 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 11 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 12 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 13 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 14 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 15 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 16 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 17 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 18 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 19 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 20 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
| 21 |  |  | 0 |  | 0 |  | 0 | 0.21233 | 0 | 0 | 0
Note on A4: Microsoft Office User: An AGSS Pump may link to multiple theatres
Note on F4: Microsoft Office User: Ask estates for the kWh for each pump. They may vary if youre in a old hospital
Note on H4: Microsoft Office User:Liaise with estates or sustainability team for cost/kWh
Note on J4: Gandhi, Jason: BEIS emission factor 2021 electricity UK https://www.gov.uk/government/publications/greenhouse-gas-reporting-conversion-factors-2021 (condensed set) OR liaise with your teams sustainability/estates team if you have a CHP energy source
Note on H5: Microsoft Office User: Cost per kWh for Freeman Hospital

## 7 -Baseline Vs Repeat AGSS CO2e
A graphical visualisation of environmental and financial savings produced by your project
Authors: Dr Jason Gandhi, Dr John Hickman, Dr Samantha Shinde
| Before | After
kgCO2e total for AGSS pumps | 0 | 0
Wasted kgCO2e for all AGSS pumps | 0 | 0
Cost (£) total for AGSS pumps | 0 | 0
Wasted cost (£) for all AGSS pumps | 0 | 0